Preparing Whole Cell Protein Extracts

for LC/MS Analysis in the Proteomics and Metabolomics Core (PMC)

David Kakhniashvili, Ph.D., Director

Before you start your project!!!

- All users must contact Dr. Kakhniashvili and discuss specific project details before submitting samples to the PMC.

- Read the Sample Preparation Basics SOP for the PMC.

Important Information for Sample Preparation

LC/MS analys is used for identification of proteins in analyzed samples and mapping of post-translational modifications (PTM) in identified proteins. Protein sample is digested with a proteolytic enzyme (usually trypsin) and generated peptide mix is subjected to LC/MS analysys

Cell Lysis and Protein Extraction

The main objective of this procedure is:

a. to efficiently lyse cells and extract proteins

b. to preserve proteins from degradation and other uncontrolled modifications

There is no absolute single “best way” to lyse cells and extract proteins. A variety of homemade (published) and commercial buffers have been optimized for different cell (or sample) types. Conditions optimal for a specific sample should be selected.

Quality and Amount of Protein Extract Required

Processing/preparation of protein extracts for LC/MS analysis include trypsin digestion. Before trypsin digestion, protein extracts must be essentially free of a) protease inhibitors, denaturing agents, detergents, etc. that inhibit trypsin digestion, and b) protein stabilizers – glycerol, PEG, which severely interfere with MS analysis. Protein extracts can be separated from these low MW components by filtration using centrifugal filter devices of a low MWCO (e.g. FASP columns) or by acetone precipitation. Purified protein extracts are then dissolved and trypsin digested in an appropriate buffer. The required amount of digested protein in submitted samples is at least 0.2µg of cell lysate per LC/MS analysis; however, sample processing/preparation including trypsin digestion may require 5-100µg per sample (per replicate) depending on application for best result.

Protein Extracts Containing Extremely Abundant Proteins

Analysis of medium and low abundant proteins is extremely difficult (or impossible) in the presence of highly abundant proteins (e.g. hemoglobin in red blood cells, albumin in blood plasma). Selective depletion of abundant proteins from protein extracts (to at least average abundance level) is required to facilitate analysis of less abundant proteins of interest.

Preparing Whole Cell Protein Extracts – Basic Protocol

Introduction

The Thermo Scientific™ Pierce™ Mass Spec Sample Prep Kit for Cultured Cells enables reproducible processing of cultured mammalian cells for proteomic mass spectrometry (MS) analysis. The kit contains all of the necessary buffers, reagents, MS-grade enzymes; an optimized protocol generates MS-compatible peptide samples from whole-cell lysates.

Sample preparation can be performed in 2 alternative ways using

• Acetone precipitation (refer to appendix A)

or

• FASP processing (refer to appendix B)

Appendix A

Preparing Whole Cell Protein Extracts via Acetone Precipitation

Materials Required

- Pierce™ Mass Spec Sample Prep Kit for Cultured Cells, P/N 84840

Kit Contents (sufficient for processing 20 samples of 100μg of cell lysate protein):

• Cell Lysis Buffer, 5ml

• Digestion Buffer, 5ml

• No-Weigh™ DTT, 24 microtubes, each containing 7.7mg of dithiothreitol (DTT)

• Iodoacetamide, Single-Use, 24 microtubes, each containing 9.3mg of iodoacetamide (IAA)

• Trypsin Storage Solution, 250μl

• Pierce Digestion Indicator, 10μg

• Lys-C Protease, MS Grade, 20μg

• Pierce™ Trypsin Protease, MS Grade, 2 × 20μg

Storage: Upon receipt, remove Insert A (containing Pierce Digestion Indicator, Lys-C Protease and Pierce Trypsin Protease, MS Grade) and store at -20°C. Store the remaining components at 4°C. Product is shipped on dry ice.

Additional Materials Required

• Microcentrifuge polypropylene tubes

• Microtip probe sonicator or nuclease (e.g., Thermo Scientific™ Pierce™ Universal Nuclease

for Cell Lysis, P/N. 88700)

• Protein assay kit (e.g., Thermo Scientific™ BCA Protein Assay Kit, P/N 23227)

• (Optional) Pierce Quantitative Colorimetric peptide Assay (P/N 23275)

• Heating block

• Chilled (-20°C) 100% acetone and 90% acetone

• Trifluoroacetic acid (TFA)

• Phosphate-buffered saline (PBS)

• Vacuum concentrator (e.g., Thermo Scientific™ SpeedVac™ Vacuum Concentrator)

Procedure for Preparation of Peptides from Cultured Cells for MS Analysis

A. Material Preparation

• Pre-chilled 90% acetone: Prepare 90% acetone in ultrapure water (e.g mix 45mL of

100% acetone with 5mL of ultrapure water) and store at -20°C

• Pre-chilled 100% acetone: Store 100% acetone at -20°C

• Warm the Cell Lysis Buffer and Digestion Buffers to room temperature before use. Store

buffers at 4°C.

B. Cell Lysis

1. Culture cells to harvest at least 100μg of protein. For best results, culture a minimum of 2 ×

106 cells.

Note: Rinse cell pellets 3 times with 1X PBS to remove cell culture media. Pellet cells using low-speed centrifugation (i.e., < 1000 × g) to prevent premature cell lysis.

2. Lyse the cells by adding five cell-pellet volumes of Cell Lysis Buffer (i.e., 100μl of Cell

Lysis Buffer for a 20μl cell pellet). Pipette sample up and down to break up the cell clumps

and gently vortex sample to mix.

3. Incubate the lysate at 95°C for 5 minutes.

4. Cool the lysate on ice for 5 minutes, spin down..

5. Sonicate lysate on ice using a microtip probe sonicator to reduce the sample viscosity by

shearing DNA. Alternatively, use Pierce Universal Nuclease for Cell Lysis (P/N 88700) to

enzymatically digest DNA and RNA. If using nuclease, add 25 units of nuclease per 1ml of

cell lysate and incubate at room temperature for 15 minutes.

6. Centrifuge lysate at 16,000 × g for 10 minutes at 4°C.

7. Carefully separate the supernatant and transfer into a new tube.

8. Determine the protein concentration of the supernatant using established methods such as

the BCA Protein Assay Kit (e.g., Thermo Scientific™ BCA Protein Assay Kit, P/N 23227)

C. Reduction, Alkylation and Acetone Precipitation

Note: This procedure is optimized for 100μg of cell lysate protein at 1mg/mL concentration; however, the procedure may be used for 10-200μg of cell lysate protein with an appropriate amount of reagents (DTT, IAA, Lys-C and trypsin). When using 10μg of cell lysate, a protein concentration of 0.2-1mg/ml may be used.

1. Warm and equilibrate the Pierce Digestion Indicator to room temperature.

2. Add 100μg of lysate protein to a polypropylene microcentrifuge tube and adjust the sample

volume to 100μL using Cell Lysis Buffer to a final concentration of 1mg/ml.

3. Add 0.5μg (0.5% w/w) of Pierce Digestion Indicator to the sample.

Note: The actual concentration is printed on the bottle label. Refer to the label to determine the required volume.

4. Immediately before use, puncture the foil covering of the Thermo Scientific™ No-Weigh™

DTT tube with an empty pipette tip. Add 100μl of ultrapure water to the tube and gently

pipette up and down to dissolve the contents of the tube. The final concentration of DTT is

~500mM.

Note: To preserve DTT stability between uses, return unused micro-tubes to the pouch containing the desiccant pack.

5. Add 2.1μl of DTT solution to the sample (final DTT concentration is ~10mM). Mix and

incubate at 50°C for 45 minutes. Discard any unused DTT solution.

6. Cool the sample to room temperature for 10 minutes, spin down.

7. Immediately before use, puncture the foil covering of the Single-Use Iodoacetamide tube

with an empty pipette tip. Add 100μl of Cell Lysis Buffer to the tube and gently pipette up

and down to dissolve the contents of the tube. The final concentration of IAA is ~500mM.

Protect solution from light.

8. Add 11.5μl of IAA solution to the sample (final IAA concentration is ~50mM). Mix and

incubate at room temperature for 20 minutes protected from light. Discard any unused

IAA solution.

9. After alkylation with IAA, immediately add 690μl (6 volumes) of pre-chilled (-20°C) 100%

acetone to sample. Vortex tube and incubate at -20°C for four hour to overnight to

precipitate proteins.

10. Centrifuge at 16,000 × g for 10 minutes at 4°C. Carefully remove acetone without

dislodging the protein pellet.

11. Add 50μl of pre-chilled (-20°C) 90% acetone, vortex to mix and centrifuge at 16,000 × g

for 5 minutes at 4°C.

12. Carefully remove acetone without dislodging the protein pellet. Allow the pellet to dry for

2-3 minutes and immediately proceed to Section D. Enzymatic Protein Digestion.

Note: Do not dry the acetone-precipitated protein pellet for more than 2-3 minutes; excess drying will make the pellet difficult to re-suspend in the Digestion Buffer.

D. Enzymatic Protein Digestion

1. Add 100μl of Digestion Buffer to the acetone-precipitated protein pellet and resuspend by

gentle pipetting up and down to break the pellet.

Note: An acetone-precipitated protein pellet may not completely dissolve; however, after proteolysis at 37°C, all the protein will be solubilized.

2. Immediately before use, add 40μL of ultrapure water to the bottom of the vial containing

20μg Lys-C and incubate at room temperature for 5 minutes. Gently pipette up and down

to dissolve. Store any remaining Lys-C solution in single-use volumes at -80°C.

3. Add 2μl of Lys-C (1μg, enzyme-to-substrate ratio = 1:100) to the sample. Mix and

incubate at 37°C for 2 hours.

4. Immediately before use, add 40μl of Trypsin Storage Solution to the bottom of the vial

Containing 20μg trypsin and incubate at room temperature for 5 minutes. Gently pipette up

and down to dissolve. Store any remaining trypsin solution in single-use volumes at -80°C

for long-term storage.

5. Add 4μl of trypsin (2μg, enzyme-to-substrate ratio = 1:50) to the sample. Mix and incubate

overnight at 37°C.

6. Acidify the sample with TFA (to 0.1%) to stop digestion, spin down.

7. Speed vac the sample (106μl) for at least 2 hr. to remove the (volatile) Digestion Buffer.

Record the protein amount per sample.

8. The samples are ready to be submitted to the facility for LC/MS analysis.

Appendix B

Preparing Whole Cell Protein Extracts via FASP Processing

Materials Required

- Pierce™ Mass Spec Sample Prep Kit for Cultured Cells, P/N 84840

Kit Contents (sufficient for processing 20 samples of 100μg of cell lysate protein):

• Cell Lysis Buffer, 5ml

• Digestion Buffer, 5ml

• No-Weigh™ DTT, 24 micro-tubes, each containing 7.7mg of dithiothreitol (DTT)

• Iodoacetamide, Single-Use, 24 microtubes, each containing 9.3mg of iodoacetamide (IAA)

• Trypsin Storage Solution, 250μl

• Pierce Digestion Indicator, 10μg

• Lys-C Protease, MS Grade, 20μg

• Pierce™ Trypsin Protease, MS Grade, 2 × 20μg

Storage: Upon receipt, remove Insert A (containing Pierce Digestion Indicator, Lys-C Protease and Pierce Trypsin Protease, MS Grade) and store at -20°C. Store the remaining components at 4°C. Product is shipped on dry ice.

- FASP Protein Digestion Kit, Expedeon P/N 44250, Thermo Fisher P/N EX44250

Kit Contents (sufficient for processing 8 samples):

• Spin Columns, 8

• Collection Tubes, 16

• Tris-HCl solution,100mM, pH 8.5, 20ml

• Ammonium Bicarbonate Solution, 50mM, 20ml – Do not use for this protocol

• Urea, single-use, 8 micro-tubes, each containing 0.75g of urea

• NaCl solution, 500mM, 20ml

• Iodoacetamide (IAA), single-use, 8 micro-tubes - Do not use for this protocol

Additional Materials Required

• Microtip probe sonicator or nuclease (e.g., Thermo Scientific™ Pierce™ Universal Nuclease

for Cell Lysis, P/N. 88700)

• Protein assay kit (e.g., Thermo Scientific™ BCA Protein Assay Kit, P/N 23227)

• Pierce Quantitative Colorimetric peptide Assay (P/N 23275)

• Micro-centrifuge polypropylene tubes

• Heating block

• Vortex

• Trifluoroacetic acid (TFA)

• Phosphate-buffered saline (PBS)

• Vacuum concentrator (e.g., Thermo Scientific™ SpeedVac™ Vacuum Concentrator)

Procedure for Preparation of Peptides from Cultured Cells

A. Material Preparation

1. Warm the Cell Lysis Buffer and Digestion Buffer provided with Pierce kit to room

temperature before use. Store buffers at 4°C.

2. Urea Sample Solution: Add 1 mL Tris Hydrochloride Solution provided with the FASP Kit to

one tube of Urea, also provided with the FASP Kit. Vortex the tube until all the powder

dissolves.

3. TEAB Solution, 50mM: e.g. add 1ml of 1M TEAB to 19ml of ultrapure water, mix.

B. Cell Lysis

1. Culture cells to harvest at least 100μg of protein. For best results, culture a minimum of 2 ×

106 cells.

Note: Rinse cell pellets 3 times with 1X PBS to remove cell culture media. Pellet cells using low-speed centrifugation (i.e., < 1000 × g) to prevent premature cell lysis.

2. Lyse the cells by adding five cell-pellet volumes of Cell Lysis Buffer (i.e., 100μl of Cell

Lysis Buffer for a 20μl cell pellet). Pipette sample up and down to break up the cell clumps

and gently vortex sample to mix.

3. Incubate the lysate at 95°C for 5 minutes.

4. Cool the lysate on ice for 5 minutes, spin down..

5. Sonicate lysate on ice using a microtip probe sonicator to reduce the sample viscosity by

shearing DNA. Alternatively, use Pierce Universal Nuclease for Cell Lysis (P/N 88700) to

enzymatically digest DNA and RNA. If using nuclease, add 25 units of nuclease per 1ml of

cell lysate and incubate at room temperature for 15 minutes.

6. Centrifuge lysate at 16,000 × g for 10 minutes at 4°C.

7. Carefully separate the supernatant and transfer into a new tube.

8. Determine the protein concentration of the supernatant using established methods such as

the BCA Protein Assay Kit (e.g., Thermo Scientific™ BCA Protein Assay Kit, P/N 23227)

C. Reduction and Alkylation

Note: This procedure is optimized for 100μg of cell lysate protein at 1mg/mL concentration; however, the procedure may be used for 50-100μg of cell lysate protein with an appropriate (proportional) amount of reagents (DTT, IAA, Pierce Digestion Indicator, Lys-C and trypsin).

1. Warm and equilibrate the Pierce Digestion Indicator to room temperature.

2. Add 100μg of lysate protein to a polypropylene microcentrifuge tube and adjust the sample

volume to 100μL using Cell Lysis Buffer to a final concentration of 1mg/ml.

3. Add 0.5μg (0.5% w/w) of Pierce Digestion Indicator to the sample (i.e. 0.005μg of Pierce

Digestion Indicator per μg of sample protein).

Note: The actual concentration is printed on the bottle label. Refer to the label to determine the required volume.

4. Immediately before use, puncture the foil covering of the Thermo Scientific™ No-Weigh™

DTT tube with an empty pipette tip. Add 100μl of ultrapure water to the tube and gently

pipette up and down to dissolve the contents of the tube. The final concentration of DTT is

~500mM.

Note: To preserve DTT stability between uses, return unused micro-tubes to the pouch containing the desiccant pack.

5. Add 2.1μl of 500mM DTT solution to the sample (final DTT concentration is ~10mM). Mix

and incubate at 50°C for 45 minutes. Discard any unused DTT solution.

6. Cool the sample to room temperature for 10 minutes, spin down.

7. Immediately before use, puncture the foil covering of the Single-Use Iodoacetamide tube

with an empty pipette tip. Add 100μl of Cell Lysis Buffer to the tube and gently pipette up

and down to dissolve the contents of the tube. The final concentration of IAA is ~500mM.

Protect solution from light.

8. Add 11.5μl of 500mM IAA solution to the sample (final IAA concentration is ~50mM). Mix

and incubate at room temperature for 20 minutes protected from light. Discard any

unused IAA solution.

9. After alkylation with IAA, immediately add 100μl of Urea Sample Solution and proceed to

Section D, FASP Protein digestion

D. FASP Protein Digestion

1. Add 200μl of Urea Sample Solution to a Spin Filter and centrifuge at 14,000 x g for 5 min.

Note: The centrifugation times may need adjustment – keep it short but long enough to let all solvent flow through the filter to the collection tube.

2. Transfer the alkylated protein sample (step C9) into the Spin Filter. Centrifuge at

14,000 x g for 15 min. Discard the flow-through from the collection tube

3. Add 200μL of Urea Sample Solution to the Spin Filter, cap the filter, vortex and centrifuge

at 14,000 x g for 12 min. Discard the flow-through from the collection tube. Repeat this

step once.

4. Add 100μl of 50 mM TEAB Solution to the Spin Filter, cap the filter, vortex and centrifuge

at 14,000 x g for 10 min. Discard the flow-through from the collection tube. Repeat this

step twice.

5. Add 100μl of Digestion Buffer provided with Pierce kit

6. Immediately before use, add 40μL of ultrapure water to the bottom of the vial containing

20μg Lys-C and incubate at room temperature for 5 minutes. Gently pipette up and down

to dissolve. Store any remaining Lys-C solution in single-use volumes at -80°C.

7. Add 2μl of Lys-C (1μg, enzyme-to-substrate ratio = 1:100) to the sample, cap the filter,

vortex 1 min, and incubate at 37°C for 2 hours.

8. Immediately before use, add 40μl of Trypsin Storage Solution to the bottom of the vial

Containing 20μg trypsin and incubate at room temperature for 5 minutes. Gently pipette up

and down to dissolve. Store any remaining trypsin solution in single-use volumes at -80°C.

9. Add 4μl of trypsin (2μg, enzyme-to-substrate ratio = 1:50) to the sample, cap the filter,

vortex, and Incubate overnight at 37°C. Wrap the tops of the tubes with Parafilm to

minimize the effects from evaporation.

10. Transfer the Spin Filter to a new collection tube and centrifuge at 14,000 x g for 10 min.

Do not discard the filtrate.

11. Add 50μl of 50 mM TEAB Solution to the Spin Filter and centrifuge at 14,000 x g for 10

min. Do not discard the combined filtrate.

12. Add 50μl 0.5 M Sodium Chloride Solution provided with the FASP Kit and centrifuge the

Spin Filter at 14,000 x g for 10 min. Save the combined (206μl) filtrate.

11. Speed vac the sample (206μl, containing ~ 100μg of digested proteins) to ~20-50μl and

desalt using C18 ZipTips (or equivalent) of appropriate capacity according to the

manufacturer’s protocol.

11. Speed vac the desalted sample to dryness.

12. Resuspend the sample in 100μl of 10% acetonitrile.

13. Determine the peptide concentration in the samples using Pierce Quantitative

Colorimetric Peptide Assay (P/N 23275) according to the manufacturer’s protocol.

14. Transfer at least 25μg of the digested protein sample into a new tube; record the

transferred amount.

15. Speed vac the samples to dryness. The samples are ready to be submitted to the facility

for LC/MS analysis.