Contact with Wastewater

Job Hazard Analysis (JHA) UTHSC

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Department/Org: | Facilities | Category: | Operations/Maintenance | |
| Title of person performing this job: | Plumbers and tradesman | Supervisor: | Plumbing Shop | |
| Location(s): | UTHSC campus | Frequency: | Every few hours to daily | |
| Approved/Certified by: | Tim Barton | | Date: | 8/18/2020 |

#### Brief Job Description:

|  |
| --- |
| Work involving potential contact with wastewater. This includes wastewater from bathrooms as well as drain disposed materials in laboratories. |

#### Prerequisites specific to this job:

|  |  |
| --- | --- |
| Knowledge, Skills, and Abilities | Training (courses and/or job/task specific) |
|  | Hazard communication |

#### Required Personal Protective Equipment:

|  |
| --- |
| Gloves (nitrile disposable), eye protection (safety glasses or goggles) |

#### Task List

| Task # | Description | Known or Potential Hazard(s) | Control(s) |
| --- | --- | --- | --- |
| 1 | Contact with wastewater | Human infectious material, dilute disinfectants | Gloves (nitrile), eye protection, faceshield |
| 2 | Contact with large volumes (>1 gallon) of wastewater | Human infectious material | Gloves (Nitrile), eye protection, face shield, Apron of body covering (recommended) |
|  | Note: Biohazardous laboratory materials must be disinfected by lab staff prior to drain disposal. PPE requirements intended to be conservatively protective against contact with infectious materials or chemical disinfectants. | | |

*Add rows as needed.*